## B21
Name | Description | engunits | Type | Comment
HPBH:221F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:221F004 | FEEDWATER FLOW CONTROL | T/D
HPBH:221F008 | MP STEAM TO BOILER 21 AUXS | T/D | Response | Steam outlet flow
HPBH:221F011 | FUEL OIL CONTROL | T/D | Control | Minimize
HPBH:221FT009 | VHP STEAM EX BOILER | T/D | Response | Steam Outlet Flow
HPBH:221Q004 | BOILER 21 FLUE GAS O2 CONT | % | KPI | KPI
HPBH:221QT004 | Flue Gas O2 Content | mole% | KPI | KPI
HPBH:221T017 | FINAL STEAM TEMP CONTROL | DEGC | Response | Consistenly above SP = wasted heat
HPBH:221T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flu Gas T before any cooling
HPBH:221T034 | LCAP AIR IN B SIDE TEMP | DEGC |  | Air inlet temp
HPBH:221T035 | LCAP AIR OUT A SIDE TEMP | DEGC |  | Air outlet temp
HPBH:221T036 | LCAP AIR OUT B SIDE TEMP | DEGC |  | Air outlet temp
HPBH:221T044 | B21 NAT GAS COMP TEMP | DEGC
HPBH:221TT031 | FUEL GAS | DEGC
HPBH:221TT032 | FUEL TEMP | DEGC
HPBH:221U829 | B21 Gas Load | T/D SRF | Control | Minimize

## B22
Name | Description | engunits | Type | Comment
HPBH:222F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:222F004 | FEEDWATER FLOW CONTROL | T/D
HPBH:222F008 | MP STEAM TO BOILER 22 AUXS | T/D | Response | Steam Outlet Flow
HPBH:222F011 | ASPHALT TO BOILER 22 | T/D | Control | Minimize [fuel oil]
HPBH:222FT009 | HP STEAM EX BOILER 22 | T/D | Response | Steam Outlet Flow
HPBH:222Q004 | FLUE GAS O2 CONTROLLER | %
HPBH:222QT004 | Flue Gas O2 Content | mole% | KPI
HPBH:222T017 | FINAL STEAM TEMP CONTROL | DEGC | KPI
HPBH:222T034 | LCAP AIR IN B SIDE TEMP | DEGC
HPBH:222T035 | LCAP AIR OUT A SIDE TEMP | DEGC
HPBH:222T036 | LCAP AIR OUT B SIDE TEMP | DEGC
HPBH:222T044 | B22 NAT GAS COMP TEMP | DEGC
HPBH:222TT031 | FUEL GAS | DEGC
HPBH:222TT032 | FUEL TEMP | DEGC
HPBH:222U829 | B22 Gas Load | T/D SRF | Control | Minimize [Fuel Gas]
HPBH:222T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flue Gas Temp before cooling

## B23
Name | Description | engunits | Type | Comment
HPBH:223F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:223F004 | FEEDWATER FLOW CONTROL | T/D
HPBH:223F008 | MP STEAM TO FANS | T/D | Response | Steam Outlet Flow
HPBH:223F011 | FUEL OIL CONTROL | T/D | Control | Minimize [fuel oil]
HPBH:223FT009 | VHP STEAM EX BOILER | T/D | Response | Steam Outlet Flow
HPBH:223Q004 | BOILER 23 FLUE GAS O2 CONTENT | %
HPBH:223QT004 | Flue Gas O2 Content | % | KPI
HPBH:223T017 | SEC S/H HDR OUT STEAM | DEGC | KPI
HPBH:223T034 | LCAP AIR IN B SIDE TEMP | DEGC
HPBH:223T035 | LCAP AIR OUT A SIDE TEMP | DEGC
HPBH:223T036 | LCAP AIR OUT B SIDE TEMP | DEGC
HPBH:223T044 | B23 NAT GAS COMP TEMP | DEGC
HPBH:223TT031 | FUEL GAS | DEGC
HPBH:223TT032 | FUEL TEMP | DEGC
HPBH:223U829 | B23 Gas Load | T/D SRF | Control | Minimize [Fuel Gas]
HPBH:223T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flu Gas temp before any cooling

## B24
Name | Description | engunits | Type | Comment
HPBH:224F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:224F004 | FEEDWATER FLOW CONTROL | T/D
HPBH:224F008 | MP STEAM TO FANS | T/D | Response | Steam Outlet Flow
HPBH:224F011 | FUEL OIL CONTROL | T/D | Control | Minimize [fuel oil]
HPBH:224FT009 | VHP STEAM EX BOILER | T/D | Response | Steam Outlet Flow
HPBH:224Q004 | FLUE GAS O2 CONTROLLER | %
HPBH:224QT004 | Flue Gas O2 Content | % | KPI
HPBH:224T017 | FINAL STEAM TEMP CONTROL | DEGC | KPI
HPBH:224T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flu Gas temp before any cooling
HPBH:224T034 | LCAP AIR IN B SIDE TEMP | DEGC
HPBH:224T035 | LCAP AIR OUT A SIDE TEMP | DEGC
HPBH:224T036 | LCAP AIR OUT B SIDE TEMP | DEGC
HPBH:224T044 | B24 NAT GAS COMP TEMP | DEGC
HPBH:224TT031 | FUEL GAS | DEGC
HPBH:224TT032 | FUEL TEMP | DEGC
HPBH:224U829 | B24 Gas Load | T/D SRF | Control | Minimize [fuel gas]

## B25
Name | Description | engunits | Type | Comment
HPBH:225F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:225F004 | FEEDWATER FLOW CONTROL | T/D
HPBH:225F008 | MP STEAM TO FANS | T/D | Response | Steam Outlet Flow
HPBH:225F011 | FUEL OIL CONTROL | T/D | Control | Minimize [fuel oil]
HPBH:225FT009 | VHP STEAM EX BOILER | T/D | Response | Steam Outlet Flow
HPBH:225Q004 | BOILER 25 FLUE GAS O2 CONT | %
HPBH:225QT004 | Flue Gas O2 Content | mole% | KPI
HPBH:225T017 | FINAL STEAM TEMP CONTROL | DEGC | KPI
HPBH:225T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flu Gas temp before any cooling
HPBH:225T034 | LCAP AIR IN B SIDE TEMP | DEGC
HPBH:225T035 | LCAP AIR OUT A SIDE TEMP | DEGC
HPBH:225T036 | LCAP AIR OUT B SIDE TEMP | DEGC
HPBH:225T044 | B25 NAT GAS COMP TEMP | DEGC
HPBH:225TT031 | FUEL GAS | DEGC
HPBH:225TT032 | FUEL TEMP | DEGC
HPBH:225U829 | B25 Gas Load | T/D SRF | Control | Minimize [fuel gas]

## B26
Name | Description | engunits | Type | Comment
HPBH:226F003 | COMBUSTION AIR CONTROL | T/D | Control
HPBH:226F004 | BFW TO BOILER 26 | T/D
HPBH:226F008 | MP STEAM TO FANS | T/D | Response | Steam Outlet Flow
HPBH:226F011 | FUEL OIL CONTROL | T/D | Control | Minimize [fuel oil]
HPBH:226FT009 | VHP STEAM EX BOILER | T/D | Response | Steam Outlet Flow
HPBH:226Q004 | BOILER 26 FLUE GAS O2 CONT | %
HPBH:226QT004 | Flue Gas O2 Content | % | KPI
HPBH:226T017 | FINAL STEAM TEMP CONTROL | DEGC | KPI
HPBH:226T028 | FLUE GAS OUTLET TEMP | DEGC |  | Flu Gas temp before any cooling
HPBH:226T034 | LCAP AIR IN B SIDE TEMP | DEGC
HPBH:226T035 | LCAP AIR OUT A SIDE TEMP | DEGC
HPBH:226T036 | LCAP AIR OUT B SIDE TEMP | DEGC
HPBH:226T044 | B26 NAT GAS COMP TEMP | DEGC
HPBH:226TT031 | FUEL GAS | DEGC
HPBH:226TT032 | FUEL TEMP | DEGC
HPBH:226U829 | B26 Gas Load | T/D SRF | Control | Minimize [fuel gas]

## General Plan
Fuel oil/Fuel gas | Control-Minimize
Combustion Air | Control
Inlet Steam Flow
02% in Flue Gas